## Riskbedömningsblankett (DMAs)
|  |  | Probability (P): | Consequence (C): | Risk assessment |  |  | ERICPD | Risk assessment performed/updated by:
|  |  | 4 Almost certain | 4 Very serious | 10 - 16 High risk |  |  | E = Eliminate | Veronica Flores Vela
|  |  | 3 Likely | 3 Serious | 6 - 9 Medium risk |  |  | R = Reduce
|  |  | 2 Less likely | 2 Minor | 1 - 5 Low risk |  |  | I = Isolate | Assessed area:
|  |  | 1 Unlikely | 1 Insignificant |  |  |  | C = Control | Flash DSC 1 and intracooler unit, Lab 8132
P = Personal protective equipment
[8 empty] | D = Discipline | 2024-08-27 | expires 2025-07-19
No. | Risk (event) | Risk description (Cause) | Consequence | Comments and existing barriers | P | C | Assessed risk | Risk reduction action as per (ERICPD). | Responsible | Completion date | P | C | Remaining risk | Result / finishing conclusion, or description of future action. References (role, procedure, etc.).
1 | Health hazards due to chemical exposure | chemical exposure, by touching or breathing | Health damage | Flash DSC is not designed for a volatile chemical and condition under material decomposition | 1 | 3 | 3 | Follow the guidelines in the risk assessment for your specific project/material. Check material SDS before. If stability is not sure, check it with other methods before. Wear personal protective equipment (gloves) | User | 2024-08-27 | 1 | 3 | 3 | Make user do risk assessment of their project/material
2 | Health hazards due to extremely low temperatures | the mesuaring cell can reach extremely cold tempertatures(-80 C) | touching the mesuaring cell could cause frosbite | The Flash DSC is design with an isolating lead | 1 | 3 | 3 | Training and SOP : D | user | 2024-08-27 | 1 | 4 | 4 | Mention in the license training
3 | Health hazards do to electrical shock | Opening the housing could cause electrical shock | machine damage, health hazard | only Metter toledo technicians can open the Flash DSC 1 housing | 1 | 4 | 4 | only Mettler toledo technicians are allowed to open the housing: E, I | User | 2024-08-27 | 1 | 4 | 4 | Mention in the license training
4 | Machine damage due water condensation | The flash DSC needs to be turn on if intracooler is turn on (standby or ready to run) | Machine damage | Liscense training | 3 | 3 | 9 | Training and SOP : C, D | User | 2024-08-27 | 2 | 3 | 6 | Mention in the license training
5 | Machine damage with vibration or improper use | vibration or improper use | Machine damage | Place the machine on a stable table Securing passage Liscence training | 3 | 1 | 3 | Place the machine on a stable table : R Securing passage : C, D Training : D | user / tool, room responsible | 2024-08-27 | 1 | 2 | 2 | Mention in the license training
Note on D1: The definition of probability can be seen in the Procedure for risk assessments regarding work environment, security and environment (C2017-1056)
Note on E1: The definition of consequence can be seen in the Procedure for risk assessments regarding work environment, security and environment (C2017-1056)
Note on J1: The persons who shall participate in the risk assessment are: Responsible manager for the specific are, safety delegate, local work environment coordinator and the employees in that place. Central work environment coordinator, occupational health care or other experts can be summoned if needed.
Note on J4: E.g. institution, department, research group, machine, process, Organization changes...
Note on E9: Write which information that has been taken under consideration during the assessment.
Note on F9: Probability that a risk occurs. Scale 1-4. See above.
Note on G9: Consequence. Scale 1-4. See above
Note on I9: Describe how the reduction of the risk is to be done and how to secure the effect of the reduction.
Note on J9: Ansvarig för åtgärd
Note on K9: Date when reduction measures are to be in place.
Note on L9: Probability that a risk occurs. Scale 1-4. See above.
Note on M9: Consequence. Scale 1-4. See above
Note on O9: Write the finishing conclusion. Refer to a new procedure if that is the case. Describe a next step if there is one.