## Riskbedömningsblankett (DMAs)
|  |  | Probability (P): | Consequence (C): | Risk assessment |  |  | ERICPD | Risk assessment performed/updated by:
|  |  | 4 Almost certain | 4 Very serious | 10 - 16 High risk |  |  | E = Eliminate | Shuichi Haraguchi
|  |  | 3 Likely | 3 Serious | 6 - 9 Medium risk |  |  | R = Reduce
|  |  | 2 Less likely | 2 Minor | 1 - 5 Low risk |  |  | I = Isolate | Assessed area:
|  |  | 1 Unlikely | 1 Insignificant |  |  |  | C = Control | Mechanical tester Instron
P = Personal protective equipment
[8 empty] | D = Discipline | 2024-07-22 | expires 2025-07-19
No. | Risk (event) | Risk description (Cause) | Consequence | Comments and existing barriers | P | C | Assessed risk | Risk reduction action as per (ERICPD). | Responsible | Completion date | P | C | Remaining risk | Result / finishing conclusion, or description of future action. References (role, procedure, etc.).
1 | Health hazards due to chemical exposure | chemical exposure, by touching | Health damage | User need to do additional risk assessment for user's specific materials. Check material SDS before. | 1 | 2 | 2 | Mention in the license training : C, D Ware proper protective depends on the materials SDS : P | User | 2024-07-22 | 2 | 1 | 2 | Make user do risk assessment of their project/material
2 | Hit or cut fingers or hand | Cut wrongly when preparing sample | Injure hand or fingers | Wear protecting grove Use proper tools Mention in the license training | 3 | 2 | 6 | Mention in the license training : C, D Wear proper protective depends on the materials : P Ready proper tools : R | User, tool responsible | 2024-07-22 | 3 | 1 | 3 | Mention in the license training
3 | Hit broken sample to users | Sample broken pieces can splash out | Injure eyes | Protective eyewear | 2 | 3 | 6 | Mention in the license training : C, D Wear proper.protective : P | User | 2024-07-22 | 2 | 1 | 2 | Mention in the license training
4 | Hand gets caught in machine | User put hand between machine | Injure hand or fingers | Emergency stop button on the side of the machine | 1 | 3 | 3 | Mention in the license training : C, D | User, tool responsible | 2024-07-22 | 1 | 2 | 2 | Mention in the license training
Note on D1: The definition of probability can be seen in the Procedure for risk assessments regarding work environment, security and environment (C2017-1056)
Note on E1: The definition of consequence can be seen in the Procedure for risk assessments regarding work environment, security and environment (C2017-1056)
Note on J1: The persons who shall participate in the risk assessment are: Responsible manager for the specific are, safety delegate, local work environment coordinator and the employees in that place. Central work environment coordinator, occupational health care or other experts can be summoned if needed.
Note on J4: E.g. institution, department, research group, machine, process, Organization changes...
Note on E9: Write which information that has been taken under consideration during the assessment.
Note on F9: Probability that a risk occurs. Scale 1-4. See above.
Note on G9: Consequence. Scale 1-4. See above
Note on I9: Describe how the reduction of the risk is to be done and how to secure the effect of the reduction.
Note on J9: Ansvarig för åtgärd
Note on K9: Date when reduction measures are to be in place.
Note on L9: Probability that a risk occurs. Scale 1-4. See above.
Note on M9: Consequence. Scale 1-4. See above
Note on O9: Write the finishing conclusion. Refer to a new procedure if that is the case. Describe a next step if there is one.